LUFALIGHT

AI Chatbot — Frequently Asked Questions

Sorted by frequency of occurrence | B2C — English | v1.0

Total: 47 questions across 5 categories

PRODUCT CONSULTATION & SELECTION

| 1 | What is red light therapy and how does it work? Red light therapy (also called Photobiomodulation / PBM) uses specific wavelengths of red (630–660 nm) and near-infrared (NIR, 810–1060 nm) light to stimulate mitochondria in your cells. This boosts ATP (cellular energy) production, reduces inflammation, promotes tissue repair, and improves circulation — all without heat or UV radiation. |
| --- | --- |
| 2 | Which LUFALIGHT device is right for me? It depends on your primary goal: (1) Face/skin: ClearGlow Face Mask (G15) or ClearGlow Pro Face + Neck (G15P); (2) Pain/recovery: RecoverPro Desktop (P40B) or PainRelief Mini Pro (MINI60PRO); (3) Full-body wellness: BioShield BK300 (flagship) or BodyMax panels; (4) Hair growth: HGrowCap Pro (C01); (5) Sleep support: SleepGlow Eye Mask (EM04). Use our Fit Finder quiz on the website for a personalized recommendation. |
| 3 | What is the difference between red light and near-infrared (NIR) light? Red light (630–660 nm) penetrates the skin surface — ideal for skin rejuvenation, collagen, and wound healing. NIR light (810–1060 nm) penetrates deeper into muscles, joints, and bones — better for pain relief, inflammation, and recovery. Most LUFALIGHT devices combine both wavelengths for maximum benefit. |
| 4 | What makes the BioShield BK300 special? The BK300 is our flagship and most differentiated product. It combines dual certified UVB therapy (295 nm + 311 nm), standard Red/NIR, AND 1060 nm Ultra-Deep NIR — a wavelength combination not found in any competitor. It is FDA-Cleared at the device level, ISO 13485 and IEC 60601 certified, with published irradiance of 150 mW/cm². It carries an Exclusive to LUFALIGHT designation. |
| 5 | Can I use red light therapy if I have a specific health condition? Red light therapy is generally safe and non-invasive. However, if you have photosensitive conditions, are on photosensitizing medications, have active cancer, or are pregnant, please consult your doctor before use. Always read the contraindications section in your device manual. |
| 6 | Is red light therapy safe? Are there any side effects? Yes, red light therapy is considered safe when used as directed. It produces no UV radiation and minimal heat. Possible minor side effects include temporary skin redness or mild eye sensitivity if used without protection. Always wear the provided eye protection during facial sessions. |
| 7 | What wavelengths do LUFALIGHT devices use? Our devices use clinically studied wavelengths: 630 nm, 660 nm (red), 810 nm, 850 nm, 940 nm, 1060 nm (NIR), and 295 nm / 311 nm UVB (BK300 only). Each wavelength targets different tissue depths and biological processes. |
| 8 | How is LUFALIGHT different from competitors like Joovv or Mito Red Light? LUFALIGHT devices are priced 20–30% below comparable competitors while offering equal or superior specifications. Our flagship BK300 includes the 1060 nm Ultra-Deep NIR wavelength and dual certified UVB — features no competitor currently offers at any price. All devices carry FDA, ISO 13485, and IEC 60601 certifications. |
| 9 | Do your devices emit UV radiation? Standard LUFALIGHT devices emit zero UV radiation. The BK300 is the only model with controlled UVB output (295 nm + 311 nm) specifically for therapeutic use — this is a certified, medical-grade feature, not incidental radiation. |
| 10 | What is irradiance and why does it matter? Irradiance (measured in mW/cm²) is the power of light reaching your skin per unit area. Higher irradiance means shorter session times for the same therapeutic dose. Our BK300 publishes 150 mW/cm² — among the highest in its class. Always look for published irradiance figures, not just wattage claims. |

ORDERING & PAYMENT

| 11 | How do I place an order? Visit lufalight.com, browse our product catalog, add items to your cart, and proceed to checkout. We accept all major credit cards, debit cards, and PayPal. Your order is confirmed immediately by email. |
| --- | --- |
| 12 | What currency are your prices in? All prices on lufalight.com are listed in Canadian Dollars (CA$). At checkout, international customers will see the equivalent in their local currency based on live exchange rates. |
| 13 | Do you ship to the United States? Yes! We ship to all Canadian provinces and territories, as well as all 50 US states. Free shipping is available on qualifying orders — see our shipping page for current thresholds. |
| 14 | How long does shipping take? Canadian orders typically arrive in 3–7 business days. US orders typically arrive in 5–10 business days. Expedited shipping options are available at checkout. You will receive a tracking number once your order ships. |
| 15 | Is there free shipping available? Yes. Free standard shipping is available on orders over CA$200 (Canada) and qualifying US orders. Check the current promotion on our website for exact thresholds. |
| 16 | Can I modify or cancel my order after placing it? Orders can be modified or cancelled within 24 hours of placement by contacting our support team at support@lufalight.com. After 24 hours, the order may already be in fulfillment and cancellation is not guaranteed. |
| 17 | Is my payment information secure? Yes. All transactions are processed through PCI-DSS compliant payment gateways with SSL encryption. LUFALIGHT never stores your full card details on our servers. |
| 18 | Do you offer financing or buy-now-pay-later options? We are working on integrating financing options (e.g., Afterpay/Affirm). Please check our website or contact support for the latest availability. |
| 19 | Will I be charged customs or import duties? Canadian customers: no import duties. US customers: orders are generally below US de minimis thresholds, but we recommend checking USPS/CBP guidelines for large orders. Any applicable duties are the buyer's responsibility. |
| 20 | Do you offer bulk or wholesale pricing for clinics and spas? Yes. B2B pricing is available for licensed clinics, spas, physiotherapy centers, and wellness studios. Contact us at b2b@lufalight.com for a custom quote. |

SCIENCE & TECHNOLOGY

| 21 | Is red light therapy scientifically proven? Yes. Photobiomodulation (PBM) is supported by 30+ peer-reviewed clinical studies published in journals such as Photobiomodulation, Photomedicine, and Laser Surgery and Lasers in Surgery and Medicine. The FDA has cleared numerous PBM devices for specific indications. |
| --- | --- |
| 22 | What conditions or goals can red light therapy help with? Clinically studied applications include: skin rejuvenation and anti-aging, acne reduction, wound healing, muscle recovery and performance, joint pain and arthritis, hair loss stimulation, sleep improvement, mental clarity/focus, and reduced inflammation. |
| 23 | What does FDA-Cleared mean for the BK300? FDA-Cleared (not FDA-Registered or FDA-Approved) means the BK300 has gone through the FDA's 510(k) premarket notification process and been found substantially equivalent to a legally marketed predicate device. This is a rigorous evaluation specific to the device — not just the manufacturer. |
| 24 | What is ISO 13485 certification? ISO 13485 is an international quality management system standard specific to medical devices. It ensures consistent design, manufacturing, and post-market processes. LUFALIGHT products carrying this certification meet global medical device quality standards. |
| 25 | What is IEC 60601 certification? IEC 60601 is the international standard for safety and essential performance of medical electrical equipment. It covers electrical safety, electromagnetic compatibility, and mechanical safety — ensuring our devices meet clinical safety requirements. |
| 26 | How deep does the light penetrate my body? Red light (660 nm) penetrates approximately 2–3 mm into the skin. NIR at 810–850 nm reaches 5–10 mm (muscle and joint tissue). Our exclusive 1060 nm ultra-deep NIR (BK300) can penetrate 10+ mm, reaching deeper muscle, bone, and circulatory tissue. |
| 27 | How long does a session take? How often should I use it? Typical sessions are 10–20 minutes per area. For most goals, daily or every-other-day use is recommended. The device manual and included protocol guide provide evidence-based session schedules tailored to your specific unit. |
| 28 | What is the difference between 660 nm and 850 nm wavelengths? 660 nm (visible red) is absorbed most efficiently by mitochondria in skin cells — best for surface-level skin benefits. 850 nm (near-infrared, invisible) penetrates deeper and is most effective for muscle recovery, joint pain, and deeper tissue repair. |
| 29 | Can I use multiple devices at the same time? Yes, many users combine devices — for example, the SleepGlow Eye Mask (EM04) during a full-body panel session. Ensure total session times remain within recommended limits per the protocols in your manuals. |
| 30 | What is Photobiomodulation (PBM)? Photobiomodulation is the scientific term for the biological process by which specific wavelengths of light stimulate cellular activity. The primary mechanism involves cytochrome c oxidase in the mitochondrial electron transport chain absorbing photons, leading to increased ATP production and downstream therapeutic effects. |

AFTER-SALES & WARRANTY

| 31 | What is LUFALIGHT's warranty policy? All LUFALIGHT devices come with a 2-Year Warranty covering manufacturing defects in materials and workmanship. The warranty does not cover physical damage from misuse, unauthorized modifications, or normal wear and tear. |
| --- | --- |
| 32 | How do I claim a warranty? Email warranty@lufalight.com with your order number, photos or video of the issue, and a brief description. Our team will respond within 2 business days with next steps — repair, replacement, or refund as appropriate. |
| 33 | What is your return policy? We offer a 30-Day Satisfaction Guarantee. If you are not satisfied, return the device in original condition and packaging within 30 days of delivery for a full refund (less return shipping). Contact support@lufalight.com to initiate a return. |
| 34 | My device is not turning on. What should I do? First, check the power connection and try a different outlet. Ensure the power adapter is fully seated. Perform a factory reset if your model supports it (see manual). If the issue persists, contact support@lufalight.com — do not attempt to open or repair the device yourself. |
| 35 | Can I get replacement parts or accessories? Yes. Replacement stands, power adapters, eye protection, and straps are available. Contact support@lufalight.com or visit the Accessories section on our website. |
| 36 | How do I contact LUFALIGHT customer support? Email: support@lufalight.com ¦ Phone/WhatsApp: available on the Contact page at lufalight.com. Our support hours are Monday–Friday 9am–5pm PST / EST. |
| 37 | Does the warranty cover international shipping for returns? For warranty claims, LUFALIGHT covers return shipping costs within Canada. For US returns, we provide a prepaid shipping label for valid warranty claims. International return shipping for non-warranty returns is the customer's responsibility. |
| 38 | How do I register my device? Device registration is optional but recommended. Register at lufalight.com/register using your order number and device serial number to ensure fastest warranty processing and to receive firmware/software updates where applicable. |
| 39 | What should I do if my device was damaged during shipping? Document the damage with photos immediately upon receiving the package — including the outer packaging. Contact support@lufalight.com within 48 hours. We will file a carrier claim and send a replacement at no cost to you. |
| 40 | Is there a trial period or money-back guarantee? Yes — our 30-Day Satisfaction Guarantee means you can try any LUFALIGHT device risk-free. If you are not happy with the results within 30 days, we will issue a full refund. See full terms on our Returns page. |

COMPETITOR COMPARISONS

| 41 | How does LUFALIGHT compare to Joovv? LUFALIGHT panels offer comparable or superior irradiance and wavelength options at 20–30% lower retail price. The BK300 offers wavelengths (1060 nm NIR + dual UVB) that Joovv does not carry at any price point. All key certifications (FDA, ISO 13485, IEC 60601) are matched or exceeded. |
| --- | --- |
| 42 | How does LUFALIGHT compare to Mito Red Light? Mito Red Light is a well-regarded US brand. LUFALIGHT matches their core specs and certifications while offering unique differentiators: the exclusive 1060 nm Ultra-Deep NIR wavelength and the only dual-certified UVB therapy option (BK300). Pricing is competitive. |
| 43 | How does LUFALIGHT compare to PlatinumLED BioMax? PlatinumLED BioMax focuses on multi-wavelength panels. LUFALIGHT's BK300 exceeds the BioMax feature set by adding dual UVB therapy and 1060 nm NIR — features the BioMax line does not offer — at a competitive price point. |
| 44 | How does LUFALIGHT compare to Omnilux? Omnilux specializes in FDA-cleared LED masks for dermatology. LUFALIGHT's ClearGlow line is a comparable facial device at a significantly lower price point, with the added flexibility of dual Red+NIR wavelengths versus Omnilux's single-modality approach. |
| 45 | How does LUFALIGHT compare to iRestore for hair growth? iRestore is a popular FDA-cleared laser hair growth helmet. Our HGrowCap Pro (C01) uses both laser and LED technology at a competitive price, with a full 2-year warranty. Consult our comparison page for a detailed spec breakdown. |
| 46 | Why should I buy from LUFALIGHT instead of Amazon? Purchasing directly from lufalight.com guarantees you receive genuine, warranty-covered products with full 2-Year Warranty protection, direct manufacturer support, and certified authenticity. Third-party Amazon sellers may sell grey-market or counterfeit units without warranty coverage. |
| 47 | Are LUFALIGHT devices made in Canada? LUFALIGHT is a Canadian brand headquartered in Canada. Our devices are manufactured to ISO 13485 and IEC 60601 medical-grade standards. For full transparency, product specifications and certifications are available on each product page. |

Note for AI Training: This document is intended as the knowledge base for LUFALIGHT's AI chatbot. Answers should be delivered in a warm, confident, expert tone. Do not reference manufacturer names, internal pricing codes, or promotional campaigns. Always recommend consulting a physician for health-related decisions. Warranty maximum is 2 years.